## Slide 1: 0ν实验中钼酸盐晶体光热两相读出方法的可行性研究
刘衍文，彭海平，张云龙，汪晓莲, 许咨宗
中国科学技术大学
衰变研讨会， 2014年12月6日，合肥
调研

## Slide 2:  衰变核素和实验
核素 | 丰度 (%) | Q (keV) | 实验
48Ca(钙) | 0.187 | 4272 | Candles
76Ge(锗) | 7.73 | 2039 | Gerda, Majorana Demonstrator
82Se(硒) | 8.73 | 2996 | SuperNEMO
100Mo(钼) | 9.8 | 3034 | MOON,AMoRE
116Cd (镉) | 7.5 | 2813 | Cobra
130Te(碲) | 34.08 | 2527 | COURE,Cobra,SNO+
136Xe(氙) | 8.86 | 2458 | EXO,NEXO,NEXT,KamLAND-Zen

## Slide 3: CaMoO4: Advanced Mo-based Rare process Experiment
Timeline:
  2002 Idea and try to grow CMO in Korea
  2003 better CMO
  2004 CMO test [conference talk at VIETNAM 2004]
  2007 CMO R&D in Cryogenic temperature
  2008 1kg of 40Ca100MoO4
  2009 AMORE Collaboration formed
  2010-2011 Characterization of CMO&background
  2012 Russia group funded for CMO production
  2013 AMoRE project funded
H.J. Kim, AMoRE talk at MEDEX’13 conference, Prague

## Slide 4: AMoRE
Metallic Magnetic Calorimeter
1 keV = 109 spin flips

## Slide 5
Y. S. Yoon, talk at
8th APCTP-BLTP JINR Joint workshop

## Slide 6: Energy resolution MMC
钍

## Slide 11
1. ZnMoO4 : 15x15x5 mm
2. Ge light detectors
3. NTD thermistor
4. NTD thermistor
5. Golden wires
6. PTFE holder for ZnMoO4
7. Copper support
8. Alpha source
9. Support of light detector
10. Light reflector
arXiv:1112.3672v1

## Slide 12
Heat channel : several peaks of environmental gamma peaks.
Inset shows good heat-light coincidence.

## Slide 13: Above ground : /α separation

## Slide 14: Background simulation(underground)
Total background in region of interest : 4×10-4 counts/(keV kg year) for enriched crystal
For natural crystal: a factor of 4 less

## Slide 15: Expected sensitivity
live time = 5 years
Enrichment level: 97%, [option(3) natural]
6 keV signal window, 90% efficiency
Range for mfor different Nuclear Matrix Element (QRPA,ISM, IBM)

## Slide 16: 总结与设想
100Mo Q值和丰度上综合考虑是不错的核素
合肥物质科学研究院张庆礼：ZnMoO4生长应该可行。
光/热双相读出可以有效区分/γ和α信号，
  MMC+SQUID (σ = 10 keV @208 Tl 2615 keV peak )
  NTD (similar resolution ,CUORE, FWHM~6keV@2615keV)
吨级ZnMoO4：半衰期灵敏度1026 年量级，对应Majorana 中微子平均质量几十meV.
科大计划 ：
  2015-2020 ：晶体研究 (光热读出，本底研究)，建立毫K实验平台（HE-3稀释制冷系统，TES温度传感器和相关读出电子学研发和制作）o(kg) 的原型样机。
  2020-2025: o(100 kg)
  2025-2030: o(1000kg)
谢谢！